SPEC NOTE: This Guide Specification includes materials and methods for the application of Aqua-Bloc® WB, a cold applied elastomeric asphalt emulsion waterproofing membrane system complete with drainage board. Typical applications include below grade tunnels, foundations, plaza decks, planters and parking structures preventing the penetration of water under hydrostatic pressure. This specification should be adapted to suit the requirements of individual projects.  It is prepared in CSI-NMS three part format and should be included as a separate section under Division 7-Thermal and Moisture Protection.

## PART 1: GENERAL

1.01	GENERAL REQUIREMENTS

- The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

- The Specification shall be read as a whole by all parties concerned.  Sectioning of the Specification is for convenience.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.02	DESCRPTION

- Supply labour, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

1.	Foundation Walls (by others),

2.	Elastomeric Asphalt Emulsion Waterproofing Membrane,

3.	Drain Board/Protection Board,

4.	Specified Backfill.

1.03	RELATED WORK

A.		Division 2 Site Work

B.		Division 3 Concrete

C.		Division 4 Masonry

D.		Division 5 Structural Steel

E.		Division 6 Rough Carpentry

F.		Division 7 Sealants & Flashings

G.		Division 15 Mechanical

1.04	REFERNECES

A.	CAN/CGSB-37.2: Membrane, Elastomeric, Cold Applied Liquid.

B.		CAN/CGSB-37.9M: Primer, Asphalt, Unfilled for Asphalt Roofing, Dampproofing and Waterproofing.

1.05	SUBMITALS

A.	Prior to commencing the Work, submit copies of manufacturers current certification to ISO. Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

B.	Prior to commencing the Work, submit references clearly indicating that the materials proposed have been installed for not less than fifteen years on projects of similar scope and nature. Submit references for a minimum of ten projects.

C.	Prior to commencing the Work submit manufacturers complete set of standard details for waterproofing systems.

1.06	Quality Assurance

A.	Perform Work in accordance with the printed requirements of the membrane manufacturer and this specification. Advise designer of any discrepancies prior to commencement of the Work.

B.	Maintain one copy of manufacturer’s literature on site throughout the execution of the Work.

C.	At the beginning of the Work and at all times during the execution of the Work, allow access to site by the waterproofing membrane manufacturer’s representative.

D.	Materials used in this Section, including, primers, mastics and membranes, asphaltic protection boards, composite drainage boards and expansion joint membranes shall be fully compatible and shall be sourced and or produced by one manufacturer.

E.	Submit copies of the membrane manufacturer’s current ISO certification including the manufacturing of the membrane, primer, mastics, adhesives and protection board.

1.07	DELIVERY, STORAGE AND HANDLING

A.	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product.

B.	Cold applied elastomeric membrane should be stored in closed containers outdoors.

C.	Store membrane at temperature of 40 degrees F and above to facilitate handling.

D.	Membrane contains petroleum solvents and are flammable. Do not use near open flame.

E.	Store role materials horizontally in original packaging.

F.	Store adhesives and primers at temperatures of 40 degrees F and above to facilitate handling.

G.	Keep solvents away from open flame or excessive heat.

1.08	CO-ORDINATION

A.	Ensure continuity of the waterproofing membrane throughout the scope of this section.

B.	Work shall be so scheduled as to provide a watertight seal at the end of each working day on the areas worked upon during the day.

1.09	SITE CONDITONS

A.	Environmental Requirements

1.	No installation work shall be performed during rainy or inclement weather and on frost or wet covered surfaces.

B.	Protection

1.	Provide adequate protection of materials and work of this section from damage by weather backfilling operations and other causes.

2.	Protect work of other trades from damage resulting from work of this section. Make good such damage at own expense to satisfaction of the consultant.

3.	Apply protection board as soon as possible after installation of membrane.

1.10	ALTERNATES

A. 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

B.	Alternate submission format to include:

1.	Submit evidence that alternate materials meet or exceed performance characteristics of Product requirements and documentation from an approved independent testing laboratory certifying that the performance of the waterproofing membrane system including drain boards and transition sheets, exceed the requirements of the National Building Code.

2.	Submit copies of manufacturers’ current ISO certification.

3.	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on a annual basis of similar scope and nature for a minimum of fifteen years.

4.		Submit manufacturers’ complete set of standard details for the roofing membrane systems showing a continuous plane of water tightness throughout the building envelope.

C.	Submit requests for alternate to this specification a minimum of fifteen (10) working days prior to tender closing for evaluation. Include a list of 25 projects executed over the past fifteen years.

D.	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to tender closing shall not be permitted for use on this project.

SPEC NOTE: This Guide Specification includes a standard contractor’s 2 year warranty and manufacturer’s 5 year material warranty.  An extended 10 year material warranty (5 + 5) is available for multi-ply systems provided Henry Drain Board systems are installed over the waterproofing membrane in accordance with the manufacturers written instructions.

1.11	WARRANTY

A.	For the Work of this Section, the 12 months warranty period prescribed in subsection GC 32.1 of General Conditions “C” is extended to [24 months] [60 months].

B.	Contractor hereby warrants the waterproofing membrane for leak coverage in [accordance with GC24], but for two years.

C.	Waterproofing membrane manufacturer hereby warrants the waterproofing membrane for leak coverage as a result of faulty materials for a period of ten years [five years for single ply without Henry DB Drain Board). Scope of warranty shall include materials required to return the membrane to a watertight condition.

## PART 2: MATERIALS

  - MATERIALS

- Waterproofing membrane components and accessories must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

      - Acceptable Manufacturer: 	Henry Company.

909 N Sepulveda Blvd, Suite 650

El Segundo, CA  90245

(800) 598 7663

Web Site: www.Henry.com

2.       Acceptable Manufacturer:	Bowman Construction Supply

10801 E. 54th Avenue

Denver, CO 80239

Phone: (303) 696-8960

www.bowmanconstructionsupply.com

2.02	WATERPROOFING MEMBRANE (Basis-of-Design)

A.	Primary cold applied elastomeric asphalt emulsion waterproofing membrane in compliance with CGSB 37.2 shall be Aqua-Bloc® WB Elastomeric Asphalt Emulsion Waterproofing Membrane manufactured by Henry, a one component waterproofing compound compatible with sheet waterproofing membranes and substrates, having the following characteristics:

1.	Elongation: 2000%,

2.	Maximum VOC: 10 g/l

3.	Water vapour permeance: 0.1 perm (10 ng/Pa.m².s), ASTM E96,

4.	Chemical resistance: Alkalis, calcium chloride, mild acid and salt solutions,

5.	Application Temperature: Minimum 40 degrees F.

2.03	JOINT TREATMENT MESH

A.	Joint Treatment and Reinforcement Mesh, open weave glass fabric yarn saturated with synthetic resins complying with ASTM D1668, Type I, shall be Henry 183 manufactured by Henry.

2.04	FLASHING AND TRANSITION MEMBRANE

A.	Flashing and Transition Membrane shall be Blueskin® WP200 manufactured by Henry, 1.5mm (60 mils) SBS modified bitumen, self-adhering sheet membrane with a cross-laminated polyethylene film, and having the following physical properties:

1.	Thickness: 1.5 mm (60 mils) min.,

2. 	Flexibility: Pass @ -40 degrees C to ASTM D1970,							3.	Vapour permeance: 2.8 ng/Pa.s.m² ( 0.05 perms) to ASTM E96,

4.	Tensile strength (membrane): 2.24 MPa to ASTM D412,

5.	Tensile strength (film): 34.5 MPa to ASTM D882,

6.	Elongation: 300% to ASTM D412,

7.	Puncture resistance: 222 N min. to ASTM E154.

B.	Primer for self-adhering membranes at temperatures above 25 degrees F shall be Aquatac Primer manufactured by Henry, a polymer emulsion based adhesive, quick setting, having the following physical properties:

1.	Colour: Aqua;

2.	Weight: 8.7 lbs/gal;

3.	Solids by weight: 53%;

4.	Water based, no solvent odours

5.	Drying time (initial set): 30 minutes at 50% RH and 70 degrees F;

  - LIQUID MEMBRANE & TERMINATION SEALANT

A.	Termination Sealant shall be Polybitume 570-05 Polymer Modified Sealing Compound manufactured by Henry, a polymer modified sealing compound having the following characteristics:

        - Compatible with sheet waterproofing membrane and substrate,

        - Solids by volume: 70%,

        - Complies with CGSB 37.29,

        - Remains flexible with ageing,

        - Chemical resistance: Alkalis, calcium chloride, mild acid and salt solutions.

2.06	PREFABRICATED DRAIN BOARDS: Two part prefabricated geocomposite drain board consisting of a formed polystyrene or PVC core covered on one side with a woven or non-woven polypropylene filter fabric:

A.	Henry DB 220: For vertical and horizontal installations, shallower depths with additional film attached to back side of membrane.

B.	Henry DB 520: For vertical installations requiring high compressive strength and high flow capacity with additional film attached to back side of membrane.

C.	Henry DB 650: For horizontal applications requiring high compressive strength, high flow capacity & woven geotextile. Suitable for use under topping slab in split slab applications.

2. 07	PREFABRICATED DRAIN BOARD ACCESSORIES

A.	Securement Bars: Continuous 1/4 inch x 3/4 inch HDPE bar for screw attachment.

B.	Moulding Strip:  Continuous 3 ½ inch wide ‘Z’ flashing strip to fit over exposed top edge of drain board.

C.	Drain Board Plugs & Nails:  HDPE pre-moulded washer to fit dimples c/w high strength, corrosion resistant concrete nails, UCAN AFH 37 or equal.

## PART 3: EXECUTION

3.01	CONDITION OF SURFACES

A.	Before commencing work, ensure environmental and site conditions are suitable for installation of waterproofing membrane.

B.	The substrate shall be clean and dry, free from surface water, ice, snow or frost, dust, dirt, oil, grease, curing compounds or any other foreign matter detrimental to the adhesion of the waterproofing membrane.

C.	Can be applied to damp or new green concrete.  Ensure concrete is smooth and free from voids and honeycombing prior to application of waterproofing membrane.

D.	Voids, cracks, holes and other damages to horizontal or vertical surfaces shall be repaired before application of the membrane.

### 3.02	FOOTING/FOUNDATION WALLS, JUNCTURES, CRACKS IN SLAB AND PROTRUSIONS

A.	Coat penetrations, such as brackets, clips, braces, etc. that are set into the concrete with a 90 mil coating of primary waterproofing membrane to the height of the wearing course and around projections to ensure a complete seal prior to coating the entire area.

B.	Penetrations subject to movement should be flashed with fabric reinforcement set into a minimum thickness of 90 mils of primary waterproofing membrane to required height on the wall and at least 4 inches on the slab, embed fabric reinforcement into wet coating followed by a second coat.

C.	To all cracks and cold joints less than 1/16 inch, apply a coat of primary waterproofing membrane at a minimum thickness of 30 mils extending 3 inches on either side of joint, embed a 6 inch wide strip of joint treatment mesh and apply additional 30 mil coating of primary waterproofing membrane.

D.	To all cracks greater than 1/8 inch, fill void with non-shrink cementitious patching material and allow to cure dry. Prime area and install self-adhered flashing membrane, extend 3 inches on either side of crack.  Overlap end joint of sheet a minimum 3 inches.

E.	At monolithic wall/slab junctures, apply a coat of primary waterproofing membrane at a minimum thickness of 30 mils extending 3 inches on either side of joint, embed a 6 inch wide strip of joint treatment mesh and apply additional 30 mil coating of primary waterproofing membrane.

F.	At non-monolithic wall/slab junctures, prime area, trowel-in fillet bead to inside corners and install self-adhered flashing membrane sheet to the required height on the wall and at least 4 inches on the slab.  Lap primary waterproofing membrane over a minimum of 2 inches.

G.	At footing to foundation wall junctions apply a coat of primary waterproofing membrane at a minimum thickness of 30 mils extending 3 inches on either side of joint, embed a 6 inch wide strip of joint treatment mesh and apply additional 30 mil coating of primary waterproofing membrane.

##### 3.03	PRIMARY WATERPROOFING MEMBRANE APPLICATION

A.	Single Coat Application (Vertical Applications)

1.	Apply a full and continuous coat of primary waterproofing membrane with a trowel, long handled squeegee, roofing brush or spray.  Apply membrane at a rate of 20ft.2 per 1 U.S. gal. to provide a minimum wet thickness of 80 mils ensuring no pinholes or blisters.  Allow membrane to fully cure/dry prior to subsequent application coatings.

B.	Heavy Duty Application (Vertical and Horizontal Applications)

1.	Apply a prime coat of primary waterproofing membrane diluted by 25% by volume with clean water at the rate of approximately 1.2 gal/100ft2 and allow to dry.

2.	Apply a full and continuous coat of primary waterproofing membrane at approximately 1.2 gal/100ft2 and embed fabric reinforcement into coating ensuring no fishmouths or wrinkles are created and allow to set.

3.	Extend and overlap fabric reinforcement 2 inches at all joints.  Allow membrane to fully cure/dry prior to subsequent application coatings.

4.	Apply second full and continuous coat of primary waterproofing membrane at 2.4 gal./100ft.2 and allow to cure.

5.	At all corners, angles and junctions of foundation walls & footings, reinforce with 2 extra plies of fabric embedded in wet mastic.

3.04	INSTALLATION OF DRAINAGE BOARD (Vertical)

A.	Align and hang drainage up to foundation wall. Position bottom edge of drainage board to be in moderate contact with weeping tile system.

B.	Secure drainage board to foundation wall with nails and washers spaced 16 inches o/c horizontally. Install minimum of 2 rows staggered and spaced 6 inches apart and min 6 inches from top edge.

D.	Align and install termination strip along top edge with nails spaced 12 inches o/c and seal with termination sealant.

E.	Align and install moulding strip over completed top edge detail.

F.	Overlap end laps, pull back loose fabric to expose drain core and position core of second panel over the overlap flange of first panel.

G.	Bend drain board to create inside corners and cut board to create outside corners, provide 3 inch of extra fabric to wrap corner.

H.	Stagger or offset joints of drain board sheets.

I.	Place all subsequent sheets in an overlapping single fashion.

J.	Backfill bottom edge in conjunction with weeping tile system.

3.05	INSTALLATION OF DRAINAGE BOARD (Horizontal)

A.	Loose lay boards starting an low point of roof, the edge of the core flange shall be at the higher edges of the substrate, away from drains.

B.	Overlap in the direction of water flow.  Pull back loose fabric to expose drain core and position core of second panel over the overlap flange of first panel.

C.	Bend drain board to create inside corners and cut board to create outside corners, provide 3 inches of extra fabric to wrap corner.

D.	Stagger or offset joints of drain board sheets.

E.	Place all subsequent sheets in an overlapping single fashion.

3.06     CURING AND PROTECTION:

  - Allow membrane to dry thoroughly. Protect from rain until fully cured. Allow membrane to fully cure prior to installing protection board, drainage composite or backfilling. Patch or repair damaged areas using same material as original coating.

  - Protect cured membrane from damage caused by backfilling by using Drainage Composite prior to commencing backfill.

3.07	CLEAN-UP

A.	Promptly as the work proceeds and on completion clean up and remove from site all rubbish and surplus materials resulting from the foregoing work.

3.08	PROTECTION

A.	Protect waterproofing membrane and drain board work from other trades during construction.

B.	Backfill with specified materials, protect membrane from damage.

END OF SECTION